## Sheet1
Level 1 | Level 2 | C/D | Why? | Company | Website | Company Offering
Leak Detection | Acoustic Leak Detection: - Uses sensitive microphones and acoustic sensors to detect sound variations caused by water escaping from pipes. - Commonly used in water distribution networks and for underground pipes. Examples: correlators, ground microphones, and noise loggers. | Commercial | Primarily used in larger water networks (e.g., commercial, municipal), but some domestic applications exist for home leak detection (e.g., LeakBot). | Aquarius Spectrum (by Oilaxis) | https://www.aquarius-spectrum.com/ | Aquarius Spectrum (by Oilaxis): Develops fixed and mobile leak detection solutions, employing acoustic sensors and advanced algorithms to monitor water distribution networks for leaks.
|  |  |  | BuntPlanet | https://solarimpulse.com/companhias/buntplanet# | BuntPlanet: Develops software solutions for water utilities, including leak detection and water loss management systems that analyze data to identify anomalies indicative of leaks.
|  |  |  | Echologics (a Mueller brand) | https://www.echologics.com/ | Echologics (a Mueller brand): Specializes in non-invasive acoustic technologies for leak detection and pipe condition assessment in water infrastructure, enabling utilities to locate leaks without service interruptions.
|  |  |  | FIDO | https://www.fido.tech/ | FIDO: Develops AI-powered leak detection solutions that analyze acoustic data to accurately pinpoint leaks within water distribution networks.
|  |  |  | Gütermann | https://www.gutermann-water.com/
|  |  |  | HWM | https://www.hwmglobal.com/ | HWM: Offers monitoring and telemetry solutions for water, wastewater, and gas networks, focusing on leak detection and network management.
|  |  |  | Primayer (Aqua Technology Solutions) | https://www.primayer.com/ | Primayer (Aqua Technology Solutions): Develops and supplies technologies for water network monitoring and leak detection, assisting utilities in managing water loss and improving network efficiency.
|  |  |  | SebaKMT (by Megger) | https://www.sebakmt.com/
|  |  |  | Sewerin | https://www.sewerin.com/ | Sewerin: Provides a range of systems for water leak detection, including electro-acoustic devices, correlators, and noise loggers, designed to accurately locate leaks in water networks.
Leak Detection | Pressure Monitoring Systems: - Monitors pressure changes within a pipeline system to identify potential leaks. - Sudden drops in pressure can indicate a leak. - Often integrated with SCADA systems for real-time monitoring. | Commercial | Typically found in commercial and municipal water systems to maintain network integrity. | HWM | https://www.hwmglobal.com/ | HWM: Offers monitoring and telemetry solutions for water, wastewater, and gas networks, focusing on leak detection and network management.
|  |  |  | Ovarro (Connecting Technologies) | https://www.ovarro.com/ | Ovarro (Connecting Technologies): Provides remote monitoring solutions and control systems for utilities, including leak detection and network management technologies.
|  |  |  | Primayer (Aqua Technology Solutions) | https://www.primayer.com/ | Primayer (Aqua Technology Solutions): Develops and supplies technologies for water network monitoring and leak detection, assisting utilities in managing water loss and improving network efficiency.
|  |  |  | Syrinix | https://syrinix.com/ | Syrinix: Provides intelligent pipeline monitoring solutions, including pressure and acoustic monitoring systems that detect leaks and bursts in water networks, enabling rapid response to minimize water loss.
|  |  |  | Siemens | https://www.siemens.com/ | Siemens: Offers AI-based leak detection solutions that help reduce non-revenue water by up to 50%, saving money and resources.
Leak Detection | Flow Monitoring and Analysis: _ Compares inflow and outflow to detect discrepancies indicating leakage. _ Can use mechanical, ultrasonic, or electromagnetic flow meters. _ Useful in both residential and commercial water systems. | Domestic and Commercial | Household smart meters track water flow, while commercial applications use advanced monitoring for water efficiency. | ADS | https://www.adsenv.com/ | Provides flow monitoring solutions to detect discrepancies indicating leakage.
|  |  |  | Grundfos | https://www.grundfos.com/ | Offers advanced flow monitoring equipment suitable for both residential and commercial water systems.
|  |  |  | LeakBot | https://www.leakbot.io/ | Specializes in smart leak detection devices for households, monitoring water flow to identify leaks.
|  |  |  | Pure Technologies (a Xylem brand) | https://www.xylem.com/en-us/brands/pure-technologies/ | Provides comprehensive flow monitoring and leak detection solutions for large-scale water networks.
|  |  |  | WaterSignal | https://watersignal.com/ | Offers real-time water monitoring systems that track usage and detect leaks in commercial properties.
|  |  |  | Wint | https://wint.ai/ | Provides metering and analytics solutions for businesses to monitor water flow and detect anomalies indicating leaks.
Leak Detection | Infrared and Thermal Imaging: - Uses infrared cameras to detect temperature changes caused by escaping fluids. - Effective for detecting leaks in large or inaccessible areas. Commonly applied in building inspections and pipeline monitoring. | Commercial | Infrared cameras are more common for large-scale inspections in commercial and municipal settings rather than individual homes. | GPRS | https://www.gp-radar.com/ | Utilizes infrared cameras for large-scale inspections in commercial and municipal settings to detect leaks.
|  |  |  | Asterra | https://asterra.io/ | Employs advanced thermal imaging techniques for pipeline monitoring and leak detection.
|  |  |  | LeakTronics (Electronic Leak Detection Equipment) | https://leaktronics.com/ | Offers electronic leak detection equipment, including infrared and thermal imaging tools for building inspections and pipeline monitoring.
Leak Detection | Tracer Gas Detection: - Introduces a non-toxic, inert tracer gas (e.g., hydrogen or helium) into a pipeline. - Specialized sensors detect escaping gas at leak points. - Frequently used when other methods are ineffective. | Commercial | Primarily used for specialized commercial or industrial applications like detecting leaks in large or complex piping networks. | The Leak Detection Company | https://www.theleakdetectioncompany.com/ | Specializes in using tracer gas methods to detect leaks in large or complex piping networks, primarily for commercial applications.
|  |  |  | WLLS (Water Leak Location Services) | https://www.wlls.co.uk/ | Provides tracer gas detection services for specialized commercial or industrial applications.
Leak Detection | Smart Metering and IoT-Based Solutions: -Uses smart water meters combined with IoT sensors to detect abnormal water usage patterns. - Provides real-time data and automated alerts. - Suitable for household, commercial, and municipal applications. | Domestic and Commercial | Widely used in both contexts | Aqualeak | https://www.aqualeak.com/ | Offers smart water meters combined with IoT sensors to detect abnormal water usage patterns in both domestic and commercial settings.
|  |  |  | EnviroTech Alarms Ltd | https://www.envirotechalarms.com/ | Provides IoT-based water leak detection systems suitable for various applications.
|  |  |  | Flume | https://flumewater.com/ | Delivers smart water monitoring devices that provide real-time data and automated alerts for households.
|  |  |  | Hulo | https://www.hulo.co/ | Develops IoT-based solutions for water monitoring and leak detection in residential and commercial properties.
|  |  |  | InfoTiles | https://infotiles.no/ | Provides AI-powered analytics platforms for sustainable water and sewer management, integrating IoT data for leak detection.
|  |  |  | LeakBot | https://www.leakbot.io/ | Specializes in smart leak detection devices for households, monitoring water flow to identify leaks.
|  |  |  | WaterSignal |  | Offers real-time water monitoring systems that track usage and detect leaks in commercial properties.
|  |  |  | Wint |  | Provides metering and analytics solutions for businesses to monitor water flow and detect anomalies indicating leaks.
Leak Detection | Satellite-Based Leak Detection: - Employs satellite imagery to detect leaks in large water networks. - Uses sensors to identify moisture patterns that could indicate leaks. - Useful for large-scale infrastructure projects. |  |  | Asterra |  | Utilizes satellite imagery to detect leaks in large water networks by identifying moisture patterns.
|  |  |  | Rezatec | https://www.rezatec.com/ | Offers geospatial AI solutions, including satellite-based leak detection for large-scale infrastructure projects.
|  |  |  | Sensat | https://www.sensat.co.uk/ | Provides satellite-based geospatial data for infrastructure monitoring, aiding in leak detection.
|  |  |  | Tenchijin | https://tenchijin.com/en/ | Employs satellite data to monitor water networks and detect potential leaks.
Leak Detection | Ground Penetrating Radar (GPR): - Sends radar pulses into the ground to detect voids or anomalies caused by leaks. - Often used alongside other techniques for subsurface leak detection. |  |  | GPRS |  | Utilizes ground-penetrating radar to detect subsurface anomalies caused by leaks.
|  |  |  | Electro Scan Inc. | https://www.electroscan.com/ | Offers advanced GPR solutions for subsurface leak detection in pipelines.
Leak Detection | Chemical Detection: - Monitors chemical composition in water or air to detect leaks. - Common in industrial applications for gas and oil pipelines. |  |  | LeakWise (On-Site Water Detection & Monitoring) | https://www.leakwise.com/ | Provides on-site water detection and monitoring systems that utilize chemical detection methods.
|  |  |  | PermAlert (Protecting Today. Preserving Tomorrow.) | https://www.permalert.com/ | Offers leak detection systems that monitor chemical composition in water or air to detect leaks, commonly used in industrial applications.
Leak Detection | Visual Inspections and Drones: - Manual inspections with the aid of inspection cameras or drones. - Useful for inspecting above-ground pipelines, tanks, and reservoirs. |  |  | Lanes Group | https://www.lanesfordrains.co.uk/ | Provides manual inspections with the aid of inspection cameras or drones for above-ground pipelines, tanks, and reservoirs.
|  |  |  | Fast Claire Group | https://www.fastclaire.com/ | Specializes in visual inspections using advanced technologies, including drones, for infrastructure monitoring.
|  |  |  | Copper | https://www.copperconsultancy.com/ | Offers consultancy services that include visual inspections and drone surveys for various infrastructure projects.
|  |  |  | Crowder Consulting | https://www.crowderconsult.co.uk/ | Provides engineering consultancy services, including visual inspections and drone assessments for water infrastructure.
Pipe Inspection etc | 1. Acoustic-Based Condition Assessment | Commercial | Primarily used in commercial and municipal networks for identifying structural defects and leaks. | Echologics (a Mueller brand) | https://www.echologics.com/ | Known for non-invasive pipe condition assessment.
| Detect leaks, air pockets, and structural integrity issues by analyzing sound waves within the pipeline. |  |  | Aquarius Spectrum (by Oilaxis) | https://aqs-systems.com/ | Provides continuous pipeline monitoring.
|  |  |  | FIDO | https://www.fido.tech/ | Uses acoustic data combined with AI.
|  |  |  | Primayer (Aqua Technology Solutions) | https://www.primayer.com/ | Acoustic monitoring and leak detection.
|  |  |  | Gütermann | https://www.gutermann-water.com/ | Specializes in fixed and mobile acoustic monitoring.
|  |  |  | Sewerin | https://www.sewerin.com/ | Known for acoustic sensors and correlation techniques.
Pipe Inspection etc | 2. Smart Sensors & IoT Solutions | Domestic and Commercial | Domestic systems often use smart water meters (e.g., LeakBot), while commercial applications use IoT for network performance monitoring. | HWM | https://www.hwmglobal.com/ | Provides pressure and flow monitoring devices.
| Continuous monitoring of pipe condition, including flow anomalies, pressure variations, and structural health. |  |  | Syrinix health. | https://www.syrinix.com/ | Focuses on transient pressure monitoring for assessing pipe health.
|  |  |  | LeakBot | https://www.leakbot.io/ | Smart home water monitoring devices.
|  |  |  | WaterSignal | https://www.watersignal.com/ | Real-time monitoring of water use.
|  |  |  | Wint | https://www.wint.ai/ | IoT solutions for water management and anomaly detection.
Pipe Inspection etc | 3. Ground Penetrating Radar (GPR) and Electromagnetic Scanning | Commercial | Typically applied in commercial and municipal contexts for underground infrastructure mapping. | GPRS | https://www.gprs.com/ | Ground Penetrating Radar for locating utilities and assessing pipe condition.
| Identify pipe location, leaks, and structural damage using radar and electromagnetic technology. |  |  | Electro Scan Inc | https://www.electroscan.com/ | Uses focused electromagnetic technology for leak detection.
|  |  |  | LeakTronics | https://www.leaktronics.com/ | Electronic leak detection equipment.
|  |  |  | Asterra | https://www.asterra.io/ | Satellite-based solutions for underground pipe detection.
Pipe Inspection etc | 4. Robotic & CCTV Inspections | Commercial | Deployed for inspecting commercial, municipal, and industrial pipelines, rarely in domestic settings. | Lanes Group | https://www.lanesfordrains.co.uk/ | Robotic and CCTV pipe inspections.
| Deploy remote-controlled vehicles with cameras and sensors inside pipelines to visually assess structural integrity. |  |  | The Leak Detection Company | https://www.theleakdetectioncompany.com/ | Provides CCTV and tracer gas inspections.
|  |  |  | Matchpoint | https://www.matchpointinc.us/ | Combines CCTV with acoustic techniques.
Pipe Inspection etc | 5. Pressure and Flow Analysis for Structural Assessment | Commercial | Mainly used in commercial and municipal systems for network efficiency. | Primayer (Aqua Technology Solutions) | https://www.primayer.com/ | Pressure transient monitoring.
| Identify pipe deterioration, potential bursts, and transient pressure events. |  |  | Syrinix | https://www.syrinix.com/ | Focused on transient pressure and structural performance.
|  |  |  | HWM | https://www.hwmglobal.com/ | Provides tools for flow and pressure-based condition monitoring.
|  |  |  | Grundfos | https://www.grundfos.com/ | Advanced flow monitoring for performance and condition assessment.
Pipe Inspection etc | 6. Satellite Imaging and Aerial Surveillance | Commercial | Used in large-scale water networks, particularly in municipal infrastructure. | Asterra | https://www.asterra.io/ | Uses satellite-based synthetic aperture radar (SAR) for condition assessment.
| Detect surface-level anomalies indicating leaks and potential structural failures. |  |  |  |  | Provides infrastructure monitoring via geospatial analytics.
Digital twins and aerial assessments of pipeline networks.
Pipe Inspection etc | 7. Predictive Maintenance & Data Analytics Platforms | Commercial | More common in larger networks with vast amounts of operational data to optimize infrastructure performance. |  |  | AI-driven water network analytics.
| Analyze historical and real-time data to predict potential failures and maintenance needs. |  |  |  |  | Predictive analytics for water utilities.
Decision support systems for water infrastructure.
Software-based pipeline condition analysis.
Digital infrastructure models aiding condition assessments.
Pipe Inspection etc | Emerging Technologies | Commercial | New tools and innovations typically target large-scale infrastructure management, although some may have future domestic applications. |  |  | Custom inspection services.
| Custom inspection services. |  |  |  |  | Comprehensive asset assessment programs.
| Comprehensive asset assessment programs. |  |  |  |  | Uses digital tools for water network diagnostics.
| Digital tools for water network diagnostics. |  |  |  |  | Innovative inspection solutions.
| Innovative inspection solutions. |  |  |  |  | Integrated water infrastructure services, including condition assessment.
Pressure Management | Pressure Management Systems | Commerical | Typically used in water distribution networks and commercial/municipal systems to maintain optimal pressure and prevent pipe bursts. | HWM | https://www.hwmglobal.com/ | Pressure monitoring and transient detection devices.
| Regulate and monitor pressure in water distribution networks to reduce leakages and prevent pipe bursts. Techniques: Pressure Reducing Valves (PRVs), pressure sensors, and transient monitoring. |  |  | Syrinix | https://www.syrinix.com/ | Pressure transient monitoring and analytics.
|  |  |  | Primayer (Aqua Technology Solutions) | https://www.primayer.com/ | Pressure and transient detection systems.
|  |  |  | Gütermann | https://www.gutermann-water.com/ | Integrated solutions with acoustic and pressure sensors.
|  |  |  | FIDO | https://www.fido.tech/ | AI-driven analysis of pressure-related anomalies.
|  |  |  | Ovarro (Connecting Technologies) | https://www.ovarro.com/ | Advanced pressure management tools.
|  |  |  | Grundfos | https://www.grundfos.com/ | Intelligent pressure management pumps.
|  |  |  | SebaKMT (by Megger) | https://www.sebakmt.com/ | Pressure data collection for leak detection.
Pressure Management | Flow Monitoring and Control | Domestic and Commercial | Common in smart home water meters and commercial water networks for usage tracking and anomaly detection. | ADS | https://www.adsenv.com/ | Flow monitoring solutions for sewer and water networks.
| Track flow rates across networks, identify anomalies, and ensure efficient water delivery. |  |  | HWM | https://www.hwmglobal.com/ | Flow data loggers and flow monitoring.
| Techniques: Ultrasonic, electromagnetic, and mechanical flow meters. |  |  | Grundfos | https://www.grundfos.com/ | Intelligent pump solutions with flow control.
|  |  |  | WaterSignal | https://www.watersignal.com/ | Real-time water flow monitoring.
|  |  |  | Wint | https://www.wint.ai/ | AI-driven water flow monitoring and anomaly detection.
|  |  |  | LeakBot | https://www.leakbot.io/ | Monitors flow patterns to detect anomalies.
|  |  |  | Flume | https://flumewater.com/ | Smart home water monitoring based on flow.
|  |  |  | BuntPlanet | https://www.buntplanet.com/ | Data-driven flow analysis for water networks.
Specialized in transient pressure monitoring.
Pressure Management | Transient Pressure Monitoring | Commercial | Primarily implemented in larger pipeline networks to detect sudden changes in pressure (water hammer) that can cause system failures. | Syrinix | https://www.syrinix.com/
| Detect and analyze pressure transients (water hammer) that can cause pipe fatigue and bursts. |  |  | Primayer (Aqua Technology Solutions) | https://www.primayer.com/ | Pressure transient loggers.
|  |  |  | HWM | https://www.hwmglobal.com/ | Devices to detect and log transient events.
SCADA and telemetry solutions for automated pressure control.
Pressure Management | Smart Metering and Network Automation | Domestic and Commercial | Smart meters are available for residential and commercial applications, supporting real-time tracking and network automation. | Ovarro (Connecting Technologies) | https://www.ovarro.com/
| Real-time monitoring and automated adjustments of flow and pressure to improve network performance. |  |  | InfoTiles | https://www.infotiles.no/ | Analytics for flow and pressure optimization.
|  |  |  | Autodesk | https://www.autodesk.com/ | Digital twins to simulate and optimize network performance.
|  |  |  | Crowder Consulting | https://www.crowderconsult.com/ | Data analytics for network flow optimization.
|  |  |  | BuntPlanet | https://www.buntplanet.com/ | AI-driven smart water management solutions.
Smart pump solutions with flow and pressure management.
Pressure Management | Valve & Pump Control Systems | Commercial | Valve and pump control solutions are more commonly used in larger water distribution systems (e.g., municipal or industrial sites) than residential applications. | Grundfos | https://www.grundfos.com/
| Regulate flow and pressure through valve and pump operation. |  |  | ADS | https://www.adsenv.com/ | Flow control devices integrated with monitoring systems.
|  |  |  | HWM | https://www.hwmglobal.com/ | Pressure control valve technology.
|  |  |  | Syrinix | https://www.syrinix.com/ | Monitoring systems to support valve operation.
Pressure Management | 6. Predictive Analytics & Optimization Software | Commercial | Predictive analytics tools typically serve larger-scale infrastructure rather than individual households. | BuntPlanet | https://www.buntplanet.com/ | AI-based predictive analytics.
| Analyze pressure and flow data to predict potential failures or optimize system performance. |  |  | InfoTiles | https://www.infotiles.no/ | Software solutions for predictive maintenance.
|  |  |  | Crowder Consulting | https://www.crowderconsult.com/ | Data modeling and decision support.
|  |  |  | Rezatec | https://www.rezatec.com/ | Geospatial and performance analytics.
Pressure Management | Emerging and Niche Solutions | Commercial | Innovations like satellite imaging and advanced flow monitoring are usually deployed in commercial or municipal networks. | Matchpoint | https://www.matchpointinc.us/ | Integrated pressure management for water utilities.
| Integrated pressure management for water utilities. |  |  | HydroSave | https://www.hydrosave.co.uk/ | Solutions focused on optimizing flow efficiency.
Solutions focused on optimizing flow efficiency.
| Satellite-driven analytics can support flow and pressure analysis. |  |  | Asterra | https://www.asterra.io/ | Satellite-driven analytics can support flow and pressure analysis.
Flow Control | Flow Monitoring & Control | Commercial |  | ADS | www.adsenv.com | Provides advanced flow monitoring and management solutions for wastewater systems, including flow meters and software for data analysis.
| Purpose: Track water flow patterns to identify anomalies, detect leaks, and optimize system performance. | Commercial |  | HWM | www.hwmglobal.com | Specializes in water and energy management, offering products like leak detection systems, pressure control solutions, and data loggers to monitor and manage water flow.
| How it Works: Uses ultrasonic, electromagnetic, or mechanical flow meters to measure flow rates across different systems. | Commercial |  | Grundfos | https://www.grundfos.com/ | A leading pump manufacturer, Grundfos offers a range of pumps and pumping systems designed for efficient water flow control in various applications, including water supply and wastewater management.
| Applications: | Commercial |  | WaterSignal | www.watersignal.com | Provides real-time water monitoring devices that detect leaks and monitor water usage, helping to manage and control water flow in commercial and residential properties.
| Domestic: Identify unusual water use (e.g., leak detection in households). | Commercial |  | Wint | www.wint.ai | Offers AI-driven solutions for water management, focusing on leak detection and prevention to control water flow and reduce waste in buildings.
| Commercial: Monitor water usage across facilities for billing, leak detection, and performance optimization. | Domestic |  | LeakBot | https://www.leakbot.io/ | A smart leak detection device designed for homes, LeakBot monitors the plumbing system to detect leaks early and prevent water damage.
|  | Domestic |  | Flume | www.flumewater.com | Provides smart home water monitoring systems that track water usage in real-time, helping homeowners detect leaks and manage water consumption effectively.
| Example: | Commercial |  | BuntPlanet | www.buntplanet.com | Develops software solutions for water utilities, including leak detection and network management tools to optimize water flow and reduce losses.
| A smart water monitor installed under a kitchen sink can detect abnormal usage patterns, signaling potential leaks. | Domestic & Commercial |  | Cenergist | www.cenergist.com | Offers water and energy efficiency solutions, including technologies for flow control and water conservation in residential and commercial settings.
|  | Commercial |  | H2OIQ | www.h2oiq.com | Specializes in water management solutions, providing tools and services to monitor and control water flow, detect leaks, and optimize water usage.
|  | Domestic & Commercial |  | Neoperl | www.neoperl.com | Manufactures flow regulators, aerators, and check valves that control water flow in plumbing systems, enhancing efficiency and performance.
|  | Domestic |  | EcoBeta | www.ecobeta.com | Provides water-saving solutions, including dual-flush toilet systems and flow regulators designed to reduce water consumption.
|  | Domestic |  | Perlator | www.perlator.com | Offers a range of faucet aerators that control water flow, aiming to conserve water while maintaining optimal performance.
|  | Commercial |  | SavaWatt | www.savawatt.com | Specializes in energy-saving devices, including solutions that optimize the performance of electric motors and control water flow in heating systems.
|  | Domestic & Commercial |  | TapAerator | www.tapaerator.com | Provides faucet aerators and flow restrictors designed to reduce water usage by controlling the flow rate in taps and showers.
|  | Commercial |  | InfoTiles | www.infotiles.no | Offers digital solutions for water management, including real-time data analytics and monitoring tools to optimize water flow and distribution.
|  | Commercial |  | Crowder Consulting | www.crowderconsulting.com | Provides engineering and consulting services focused on water resources, including flow control analysis and hydraulic modeling.
|  | Commercial |  | Rezatec | www.rezatec.com | Utilizes satellite data and analytics to offer insights into water management, including monitoring of water flow and detection of anomalies in water networks.
|  | Commercial |  | Matchpoint | www.matchpointinc.us | Specializes in smart water management solutions, offering products like advanced metering infrastructure and leak detection systems to monitor and control water flow.
|  | Commercial |  | HydroSave | www.hydrosave.co.uk | Provides water conservation services, including leak detection, pressure management, and flow monitoring to optimize water usage and reduce waste.
|  | Commercial |  | Asterra | www.asterra.io | Uses satellite-based technology to detect underground leaks and assess pipeline conditions, helping utilities manage and control water flow more effectively.
Flow Control | Urinal Controls | Commercial |  | Cistermiser | www.cistermiser.co.uk | Cistermiser provides a range of urinal flushing control solutions designed to conserve water and ensure efficient operation: Hydraulic Valve: This automatic urinal flush control valve operates without the need for external power. It uses a patented mechanism that allows the cistern to fill and flush only when the washroom is in use, effectively reducing water consumption. CISTERMISER.CO.UK Infrared Control (IRC) Valve: Equipped with a Passive Infrared (PIR) sensor, this valve detects movement and manages the water supply to the urinal cistern accordingly. It's available in mains and/or battery-powered versions. CISTERMISER.CO.UK Direct Flush Valve with Infrared Sensor: Designed for mains-fed urinal flushing, this valve uses an infrared sensor to control flushing, ensuring hygiene and water efficiency For a visual demonstration of Cistermiser's IRC and Standard (STD) valves, you might find the following video helpful: https://youtu.be/IVvNiZluoJI
| Purpose: Reduce unnecessary water use from urinals by controlling flushing based on time intervals or occupancy. | Commercial |  | Hydrotek | www.hydrotekintl.com | Specific information about urinal control products from Hydrotek, Tavistock, and Rada (part of the Kohler Group) wasn't readily available in the provided sources. For detailed information on their offerings, I recommend visiting their official websites or contacting their customer service directly.
| How it Works: Infrared sensors, hydraulic systems, or timed controls manage when urinals flush to avoid excessive water usage. | Commercial |  | Sloan | www.sloan.com | Sloan offers a variety of flushometers suitable for urinals, known for their durability and efficient performance: SLOAN 9613: This flushometer features a high chloramine-resistant PERMEX synthetic rubber diaphragm with a linear filtered bypass and vortex cleansing action. It's constructed with high-quality materials, including a valve body, cover, and tailpiece made of durable components.
| Applications: | Commercial |  | Tavistock | www.tavistockbathrooms.co.uk | Specific information about urinal control products from Hydrotek, Tavistock, and Rada (part of the Kohler Group) wasn't readily available in the provided sources. For detailed information on their offerings, I recommend visiting their official websites or contacting their customer service directly.
| Commercial: Offices, public restrooms, and large venues implement these controls to manage high-use washrooms. | Commercial |  | Rada (Kohler Group) | www.radacontrols.com
| Example: |  |  |  |  | Specific information about urinal control products from Hydrotek, Tavistock, and Rada (part of the Kohler Group) wasn't readily available in the provided sources. For detailed information on their offerings, I recommend visiting their official websites or contacting their customer service directly.
A sensor-based urinal control only flushes after use, saving significant water compared to continuously flushing systems.
Flow Control | Toilet Flush Controls | Domestic & Commercial |  | Fluidmaster | www.fluidmaster.com | Fluidmaster specializes in toilet repair parts, including a variety of flush valves designed to enhance flushing performance and efficiency: Toilet Flush Valves: These valves control the release of water from the tank to the bowl when the flush lever is pressed. Fluidmaster offers both 2-inch and 3-inch flush valves to accommodate different toilet models
| Purpose: Optimize toilet flushing to reduce water use without compromising performance. | Domestic & Commercial |  | WISA | www.wisa-sanitair.com | WISA provides a range of sanitary products, including flush mechanisms for toilets. Specific details about their flush control offerings can be found on their official website or through authorized distributors.
| How it Works: Includes dual-flush mechanisms, cistern displacement devices, and smart toilet systems. | Commercial |  | Geberit | www.geberit.com | Geberit offers a comprehensive selection of actuator plates and flush controls designed for both toilets and urinals: Actuator Plates and Flush Controls: Geberit's actuator plates are available in various styles and finishes, compatible with their in-wall toilet systems. They provide both dual-flush and single-flush options, emphasizing water conservation and modern design. Remote Flush Buttons: For enhanced convenience and accessibility, Geberit offers remote flush buttons like the Type 10, which can be positioned up to 5.5 feet away from the tank. These buttons feature dual-flush capability and are available in multiple finishes. https://youtu.be/DNePG2_BL-I
| Applications: | Domestic & Commercial |  | Siamp | www.siamp.com | Siamp specializes in sanitary equipment, offering a range of flush valves and related components: Flush Valves: Siamp's flush valves are designed for efficient water release and are compatible with various toilet models. Specific product details can be obtained from their official website or authorized retailers.
| Domestic: Retrofit kits for household toilets to reduce flushing volumes. | Domestic |  | Roca | www.uk.roca.com | Roca provides a variety of flush valves and cistern fittings to ensure optimal toilet performance: Flush Valves: Roca's range includes both single and dual flush valves, designed for compatibility with their toilet models. These valves focus on water efficiency and reliable performance.
Commercial: Larger-scale installations in office and retail environments.
Example:
Dual-flush toilets provide users with options for full or reduced flushes, saving thousands of litres of water annually.
| Tap Inserts | Domestic & Commercial |  | Neoperl | www.neoperl.com | Neoperl focuses on water-saving technologies, particularly faucet aerators and flow regulators: Faucet Aerators: Neoperl's aerators shape the water stream, regulate flow rate, and add air to create a soft, splash-free stream. They offer various stream patterns, including aerated, laminar, and spray options. Flow Regulators: These devices ensure a constant flow rate, regardless of pressure fluctuations, contributing to water and energy conservation.
| Purpose: Control and reduce water flow from taps while maintaining effective water pressure. | Domestic |  | EcoBeta | www.ecobeta.com
| How it Works: Inserts like aerators or flow restrictors are placed in tap outlets to mix air with water or limit flow. | Domestic |  | Perlator | www.perlator.com
| Applications: | Commercial |  | SavaWatt | www.savawatt.com
| Domestic: Installed in homes to limit unnecessary water use. | Domestic & Commercial |  | TapAerator | www.tapaerator.com
Commercial: Used in offices, hotels, and restaurants to manage high tap usage efficiently.
Example:
A tap aerator limits water flow from 10 litres per minute (LPM) to 5 LPM, reducing water usage without noticeable performance loss.
Flow Control | Shower Flow Regulators | Domestic & Commercial |  | Hansgrohe | www.hansgrohe.com | Hansgrohe offers a range of showerheads and hand showers designed to provide efficient water flow while ensuring a luxurious shower experience. Their products feature flow rates ranging from 1.5 to 2.0 gallons per minute (GPM), adhering to WaterSense certification standards. Innovative technologies such as AirPower enrich the water with air, creating fuller, lighter droplets, while EcoRight technology reduces water consumption by up to 40% without compromising performance. Additionally, QuickClean technology allows for easy removal of limescale deposits, maintaining consistent water flow. https://www.youtube.com/watch?v=IVvNiZluoJI
| Purpose: Reduce water consumption during showers while maintaining user comfort. | Domestic |  | Methven | www.methven.com
| How it Works: Regulates the flow rate by limiting water volume per minute or compensating for pressure variations. | Domestic |  | Niagara Conservation | www.niagaracorp.com | Niagara Conservation specializes in water-saving showerheads that maintain optimal performance. Their showerheads come with various flow rates, including 1.25, 1.5, 1.75, and 2.0 GPM options. Features such as non-removable flow compensators ensure a consistent flow rate across a wide range of pressures, and non-aerated sprays reduce temperature loss, maximizing energy savings. Models like the Earth® Showerhead offer three spray settings: 9-jet spray, shower, and combo, providing versatility while conserving water.
| Applications: | Domestic |  | EcoCamel | www.ecocamel.com
Domestic: Water-saving showerheads for eco-conscious households.
Commercial: Hotels, gyms, and spas implement these devices to cut water and energy costs.
Example:
EcoSmart showerheads by Hansgrohe reduce flow to 6 LPM without reducing shower quality, achieving significant savings in water-heating costs.
Flow Control | Pressure-Compensating Valves | Commercial |  | Honeywell (Braukmann) | www.honeywellhome.com | Honeywell's Braukmann series includes pressure-reducing valves designed to protect household water installations from excessive supply pressure. The D06F model features a balanced seat and set point scale, ensuring consistent outlet pressure despite fluctuations in inlet pressure. This valve is suitable for both residential and commercial applications, aiming to prevent pressurization damage and reduce water consumption.
| Purpose: Maintain consistent water flow across varying pressure conditions. | Commercial |  | Danfoss | www.danfoss.com | Danfoss offers a range of pressure-reducing valves designed to maintain stable outlet pressure in various applications. These valves are engineered to ensure reliable performance and longevity, contributing to the protection of plumbing systems from excessive pressure. For detailed specifications and product options, visiting Danfoss's official website or contacting their customer service is recommended.
| How it Works: Automatically adjusts the internal valve to maintain steady water output even when system pressure fluctuates. | Commercial |  | Reliance Water Controls (RWC) | www.rwc.com | Reliance Water Controls specializes in pressure-reducing valves suitable for both domestic and commercial settings. Their products are designed to regulate and stabilize water pressure, safeguarding plumbing systems and optimizing water usage. For more information on specific models and features, consulting RWC's official resources or reaching out to their support team is advisable.
| Applications: | Commercial |  | Watts Water Technologies | www.watts.com | Watts Water Technologies manufactures a variety of water pressure-reducing valves aimed at residential, commercial, and institutional applications. These valves are designed to lower incoming water pressure to a predetermined level, thereby protecting downstream plumbing components and reducing water consumption. Models like the LFN45BM1-DU feature a standard capacity and are constructed to ensure reliable performance.
| Commercial: Essential for high-rise buildings and municipal water systems. | Commercial |  | Grundfos | https://www.grundfos.com/ | Grundfos provides pressure relief valves that open when the pressure on the pump's discharge side becomes too high, ensuring system protection. These valves are essential components in maintaining the safety and efficiency of pumping systems. Additionally, Grundfos supports system contractors in balancing heating and cooling systems through the use of balancing valves, which help maintain the correct water flow at all consumption points. For detailed specifications and assistance in selecting the appropriate valve for your needs, it's recommended to consult the official websites or contact the customer service departments of these manufacturers.
Industrial: Ensures stable flow in manufacturing processes.
Example:
In a hotel with varying water demands throughout the day, pressure-compensating valves ensure a consistent shower experience across all floors.
Smart Metering and IoT | 1. Advanced Metering Infrastructure (AMI) | Domestic and Commercial | AMI was predominantly used in commercial, municipal, and utility-scale deployments for continuous water network monitoring but this has changed with water companies rolling out smart metering for domestic customers | HWM | https://www.hwmglobal.com/ | Data loggers and AMI solutions for water utilities.
| Provides continuous, real-time data collection without manual meter reads. |  |  | Primayer (Aqua Technology Solutions) | https://www.primayer.com/ | Integrated AMI systems.
| Capabilities: Remote monitoring, automated billing, and network-wide insights. |  |  | Syrinix | https://www.syrinix.com/ | Real-time water network monitoring integrated with AMI.
|  |  |  | BuntPlanet | https://www.buntplanet.com/ | AI-driven smart metering and leak detection platforms.
|  |  |  | Grundfos | https://www.grundfos.com/ | Integrates smart meters with intelligent pumping systems.
|  |  |  | WaterSignal | https://www.watersignal.com/ | Real-time monitoring for multi-family and commercial buildings.
Smart Metering and IoT | 2. Automated Meter Reading (AMR) | Domestic and Commercial | AMR technology is common in both household meters (e.g., walk-by/drive-by reads) and commercial settings for operational efficiency.
| Allows periodic remote meter reads without site visits. |  |  | HWM | https://www.hwmglobal.com/ | Offers AMR-enabled loggers and data collectors.
| Capabilities: Walk-by or drive-by data collection using wireless communication. |  |  | LeakBot | https://www.leakbot.io/ | Wireless devices that provide consumption data.
|  |  |  | Flume | www.flumewater.com | Consumer-friendly smart metering with remote-read capability.
|  |  |  | WaterSignal | https://www.watersignal.com/ | Wireless monitoring of water usage.
|  |  |  | Wint | https://www.wint.ai/ | Automated water metering for commercial properties.
Smart Metering and IoT | 3. IoT-Based Smart Metering Solutions | Domestic and Commercial | IoT-based solutions are used in domestic contexts (e.g., LeakBot, Flume) and commercial buildings for real-time consumption tracking. | LeakBot | https://www.leakbot.io/ | Smart home leak detection via connected flow monitors.
| Uses internet-connected sensors to track usage, detect leaks, and optimize water consumption. |  |  | Flume | www.flumewater.com | Wi-Fi-enabled meters with a consumer-facing app.
| Capabilities: Cloud-based dashboards, app interfaces, and anomaly detection. |  |  | WaterSignal | https://www.watersignal.com/ | Wireless monitoring with real-time alerts.
|  |  |  | Wint | https://www.wint.ai/ | AI-driven leak detection and water use optimization.
|  |  |  | HWM | https://www.hwmglobal.com/ | Remote monitoring via IoT platforms.
|  |  |  | InfoTiles | https://www.infotiles.no/ | Provides software-based IoT integration.
|  |  |  | Aqualeak | https://www.aqualeak.com/ | Connected sensors for residential and commercial metering.
Smart Metering and IoT | 4. Smart Meter Data Analytics | Domestic and Commercial | Previously data analytics platforms primarily served commercial networks and utilities looking for efficiency and predictive maintenance insights. This has changed with water companies rolling out smart metering for domestic customers | BuntPlanet | https://www.buntplanet.com/ | AI-powered data analytics for water utilities.
| Leverages metering data to identify consumption patterns, potential leaks, and optimization opportunities. |  |  | InfoTiles | https://www.infotiles.no/ | Predictive analytics tools for network optimization.
| Capabilities: Machine learning models, predictive analytics, and anomaly detection. |  |  | Crowder Consulting | https://www.crowderconsult.com/ | Analytical tools for performance monitoring.
|  |  |  | Rezatec | https://www.rezatec.com/ | Uses geospatial data to assess system performance.
|  |  |  | Wint | https://www.wint.ai/ | Combines AI with water consumption analytics.
Smart Metering and IoT | 5. Smart Metering for Non-Household Applications | Commercial | As stated, it focuses on commercial, industrial, and agricultural water monitoring. | WaterSignal | https://www.watersignal.com/ | Focused on commercial buildings and facilities.
| Monitor water use in commercial, industrial, and agricultural settings. |  |  | Wint | https://www.wint.ai/ | Provides metering and analytics for businesses.
| Capabilities: Higher data granularity, flow profile analysis, and tailored consumption reports. |  |  | Grundfos | https://www.grundfos.com/ | Smart metering integrated with industrial water systems.
|  |  |  | ADS | https://www.adsenv.com/ | Non-residential water network monitoring.
Smart Metering and IoT | 6. Smart Metering Integration with Leak Detection | Domestic and Commercial | Leak detection based on metering data is useful for domestic applications (e.g., identifying household leaks) and for large-scale commercial operations. | LeakBot | https://www.leakbot.io/ | Monitors water usage patterns to detect potential leaks.
| Combines consumption data with acoustic sensors, pressure monitoring, and other detection methods. |  |  | FIDO | https://www.fido.tech/ | Combines metering data with AI-driven leak detection.
| Capabilities: Pinpoints potential leaks and anomalies using metering data. |  |  | HWM | https://www.hwmglobal.com/ | Integrates metering and leak detection sensors.
|  |  |  | Primayer (Aqua Technology Solutions) | https://www.primayer.com/ | Acoustic and metering integration.
|  |  |  | Aquarius Spectrum (by Oilaxis) | https://www.aquarius-spectrum.com/ | Smart metering with pipeline monitoring.
Smart Metering and IoT | 7. Smart Metering for Water Efficiency and Conservation | Domestic and Commercial | Suitable for water-saving efforts in homes and businesses, supporting water neutrality strategies. | Flume | www.flumewater.com | Consumer-oriented meters encouraging water-saving behavior.
| Supports water neutrality strategies by tracking and reducing consumption. |  |  | LeakBot | https://www.leakbot.io/ | Designed to identify leaks and reduce waste.
| Capabilities: Provides consumption feedback, targets high-use areas, and supports demand management. |  |  | Wint | https://www.wint.ai/ | Optimizes consumption in commercial settings.
|  |  |  | WaterSignal | https://www.watersignal.com/ | Tracks water usage for sustainability programs.
|  |  |  | BuntPlanet | https://solarimpulse.com/companhias/buntplanet# | Supports network-wide efficiency efforts.
Smart Metering and IoT | Emerging Technologies and Innovations | Commercial | Innovations like satellite-based metering and digital twins are more relevant for commercial and municipal water networks. | Asterra | www.asterra.io | Satellite imaging combined with smart meter data for efficiency planning.
| Satellite imaging combined with smart meter data for efficiency planning. |  |  | Rezatec | Innovative Geospatial AI ¦ Rezatec | Geospatial solutions with smart meter overlays.
| Geospatial solutions with smart meter overlays. |  |  | Sensat | https://www.sensat.co/ | Digital twin technologies for water networks.
| Digital twin technologies for water networks. |  |  | Autodesk | Smart Building ¦ What Is A Smart Building? ¦ Autodesk | Integrates smart metering with infrastructure design tools.
Integrates smart metering with infrastructure design tools.
Sustainable Urban Drainage Systems (SuDS) | Purpose: | Commercial | SuDS products like geocellular drainage and attenuation tanks are typically used in large infrastructure projects (urban, municipal, and commercial developments). | Polypipe Civils & Green Urbanisation | Polypipe Civils & Green Urbanisation – www.polypipe.com | Modular attenuation tanks, geocellular drainage, and green infrastructure.
| Manage surface water runoff in urban environments using natural processes to reduce flooding and water pollution. | Commercial | Their drainage channels and infiltration solutions are designed for highways, urban spaces, and large-scale commercial landscapes. | ACO Water Management | ACO Water Management – www.aco.co.uk | Drainage channels, SuDS-friendly solutions for water infiltration.
| Technologies & Products: | Commercial | Specializes in stormwater treatment systems and flow controls, often used by water utilities and large developments. | Hydro International | Hydro International – www.hydro-int.com | Vortex flow controls, stormwater treatment systems.
| Permeable pavements, green roofs, retention ponds, swales, and infiltration basins. | Commercial | Focuses on data-driven stormwater management, usually required for commercial, industrial, and municipal applications. | SDS Limited (SuDS Solutions) | SDS Limited (SuDS Solutions) – www.sdslimited.com | Stormwater management systems with data-driven monitoring.
Greywater Recycling | Purpose: | Domestic | Provides greywater recycling systems for households, mainly used for irrigation and toilet flushing. | ReAqua Systems | ReAqua Systems – www.reaqua.com | Domestic greywater recycling systems for irrigation and flushing.
| Reuse wastewater from sinks, showers, and washing machines for non-potable purposes like toilet flushing and irrigation. | Commercial | Supplies greywater recycling solutions tailored for offices, hotels, and other large facilities. | Waterwise Systems | Waterwise Systems – www.waterwisesystems.com | Commercial greywater recycling units for offices and hotels.
| Technologies & Products: | Commercial | Their greywater systems come with integrated monitoring, typically required for larger buildings or industrial water management. | Aquality Trading & Consulting Ltd | Aquality Trading & Consulting Ltd – www.aqua-lity.co.uk | Greywater systems with integrated monitoring.
| Greywater recycling units, filtration systems, and disinfection modules. | Domestic | Offers compact greywater recycling systems designed for individual homes and residential applications. | Ecoplay Water Systems | Ecoplay Water Systems – www.ecoplay-systems.com | Compact greywater recycling systems for residential applications.
Rainwater Harvesting | Purpose: | Domestic & Commercial | Provides rainwater tanks suitable for both individual homes and large commercial sites. | Kingspan Water & Energy | Kingspan Water & Energy – www.kingspan.com | Above and below-ground rainwater tanks for domestic and commercial use.
| Capture and store rainwater for irrigation, toilet flushing, and sometimes potable applications. | Domestic & Commercial | Specializes in modular rainwater harvesting systems that can be scaled for both small and large applications. | Graf UK | Graf UK – www.grafuk.co.uk | Modular rainwater harvesting systems.
| Technologies & Products: | Domestic | Focuses on domestic rainwater capture, primarily for homeowners and small-scale installations. | Rainwater Harvesting Ltd | Rainwater Harvesting Ltd – www.rainwaterharvesting.co.uk | Complete domestic rainwater capture systems.
| Rainwater harvesting tanks, filtration units, and automatic pump controllers. | Commercial | Supplies automated rainwater harvesting systems for large commercial properties, public buildings, and industrial sites. | Stormsaver | Stormsaver – www.stormsaver.com | Commercial rainwater harvesting systems with automatic controls.
Behavioural Water Efficiency Tools | Purpose:
| Encourage water-saving behavior through real-time feedback, educational campaigns, and consumer engagement. | Domestic & Commercial |  | Dropcountr | www.dropcountr.com | Consumer engagement platform offering personalized water usage feedback and conservation tips.
| These tools complement hardware solutions (e.g., smart meters) by helping customers understand and adjust their water use habits. | Domestic & Commercial |  | WaterSmart Software | www.watersmart.com | Customer engagement and analytics platform providing tailored insights to encourage water savings.
| Key Features: | Domestic & Commercial |  | Opower (Oracle) | www.oracle.com/opower | Behavioral analytics for water and energy conservation through personalized reports and digital engagement.
| Usage tracking and personalized feedback. | Domestic |  | BlueConserve | www.blueconserve.com | Mobile app that tracks water use and rewards efficient behavior.
| Gamification (e.g., water-saving challenges). | Commercial |  | Imagine H2O | www.imagineh2o.org | Water innovation accelerator supporting tools for customer behavior change.
| Digital communication channels for conservation messaging. | Domestic & Commercial |  | Aquatrail | www.aquatrail.com | Water-saving engagement platform for municipal programs and residential users.
| Data analytics and reporting to monitor program success. | Domestic & Commercial |  | Sensus Analytics | https://sensus.com/solutions/analytics/ | Provides consumption insights and customer engagement tools via smart meter data integration.
Closed Loop Systems | Closed loop water treatment systems recycle and reuse water within industrial and commercial processes, reducing water consumption and minimizing environmental impact. These systems are essential in industries like power generation, chemical processing, and manufacturing, where large volumes of water are used for cooling, heating, or processing. | Commercial | Closed loop water treatment systems recycle and reuse water within industrial and commercial processes, reducing water consumption and minimizing environmental impact. These systems are essential in industries like power generation, chemical processing, and manufacturing, where large volumes of water are used for cooling, heating, or processing. | ChemREADY | https://www.getchemready.com/ | Provides closed loop water treatment services that include filtration, chemical treatment, disinfection, and recirculation to maintain water quality and reduce consumption in industrial systems.
|  |  |  | Integrated Compliance Services | https://www.integrated-compliance.co.uk/ | Provides water treatment for closed loop and circuit systems, addressing issues like corrosion, fouling, and biofouling. Their services include monitoring, energy efficiency optimization, and maintenance.
Landscaping, agricultural, and outdoor water reuse | Implementing water reuse systems in landscaping and agriculture conserves potable water by utilizing alternative sources such as greywater or harvested rainwater. This practice is beneficial for irrigation in both residential gardens and large-scale agricultural operations, promoting sustainability and reducing water costs. | Commercial and Domestic | Implementing water reuse systems in landscaping and agriculture conserves potable water by utilizing alternative sources such as greywater or harvested rainwater. This practice is beneficial for irrigation in both residential gardens and large-scale agricultural operations, promoting sustainability and reducing water costs. | Biwater | https://www.biwater.com/ | Specializes in designing and constructing water and wastewater treatment plants, including systems for water reuse in agricultural and landscaping applications
|  |  |  | Plantex UK | https://ensun.io/search/irrigation-system/united-kingdom | Supplies high-quality commercial irrigation systems, offering expertise and innovative solutions for effective irrigation and frost protection, helping reduce labor costs and water wastage.
|  |  |  | Cress Water Solutions Ltd | https://cresswater.co.uk/ | Specializes in designing, installing, and maintaining reed beds, ponds, and constructed wetlands for sewage and wastewater treatment, promoting sustainable water reuse in landscaping and agricultural applications.
On-site water reuse systems | On-site water reuse systems treat and repurpose wastewater (such as greywater) within the same location where it is generated. This approach reduces the demand for fresh water and decreases the volume of wastewater discharged into municipal systems. It's applicable in residential settings for toilet flushing and irrigation, as well as in commercial buildings for various non-potable uses | Commercial and Domestic | On-site water reuse systems treat and repurpose wastewater (such as greywater) within the same location where it is generated. This approach reduces the demand for fresh water and decreases the volume of wastewater discharged into municipal systems. It's applicable in residential settings for toilet flushing and irrigation, as well as in commercial buildings for various non-potable uses | Biwater | https://www.biwater.com/ | Provides solutions for on-site water reuse, including the design and implementation of treatment systems that allow for the safe reuse of wastewater in various applications.
|  |  |  | WRc | https://www.wrcgroup.com/ | Provides water recycling and reuse services, helping industrial users reduce potable water demand and wastewater flows, thereby alleviating environmental and societal pressures.
Water and energy integration | Integrating water and energy systems involves optimizing the use of both resources simultaneously. In industrial settings, this can mean recovering energy from wastewater treatment processes or implementing systems that reduce both water and energy consumption. This holistic approach leads to cost savings and environmental benefits. | Commercial | Integrating water and energy systems involves optimizing the use of both resources simultaneously. In industrial settings, this can mean recovering energy from wastewater treatment processes or implementing systems that reduce both water and energy consumption. This holistic approach leads to cost savings and environmental benefits. | Closed Loop Partners | https://www.closedlooppartners.com/ | Invests in innovative technologies and solutions that promote the circular economy, including those that integrate water and energy efficiencies in industrial processes.
|  |  |  | Cress Water Solutions Ltd | https://cresswater.co.uk/ | Designs and maintains reed beds, ponds, and constructed wetlands for effective stormwater management, enhancing water quality and providing sustainable solutions.
Stormwater management solutions | Stormwater management solutions aim to control and use rainwater runoff to prevent flooding, reduce pollution, and replenish groundwater. In urban areas, implementing green infrastructure like rain gardens, permeable pavements, and green roofs can transform cities into "sponge cities," absorbing and utilizing stormwater effectively. | Commercial and Domestic | Stormwater management solutions aim to control and use rainwater runoff to prevent flooding, reduce pollution, and replenish groundwater. In urban areas, implementing green infrastructure like rain gardens, permeable pavements, and green roofs can transform cities into "sponge cities," absorbing and utilizing stormwater effectively. | Biwater | https://www.biwater.com/ | Provides comprehensive stormwater management solutions, including the design and implementation of infrastructure to effectively manage runoff and enhance water quality.
Water audits | Water audits involve assessing water use within a facility or household to identify areas of inefficiency and recommend improvements. This process helps in reducing water consumption, lowering utility bills, and promoting sustainable water use practices. | Commercial and Domestic | Water audits involve assessing water use within a facility or household to identify areas of inefficiency and recommend improvements. This process helps in reducing water consumption, lowering utility bills, and promoting sustainable water use practices. | ChemREADY | https://www.getchemready.com/ | Offers water treatment solutions that can be part of a comprehensive water audit to optimize water usage and quality in industrial applications.
|  |  |  | Waterscan | https://waterscan.com/ | Offers sustainable water management solutions, including data analysis, supply optimization, and technical services like leak detection, serving sectors such as hospitality, retail, and industrial manufacturing.
|  |  |  | Inspired PLC | https://inspiredplc.co.uk/ | Provides water management services, including water procurement, bill validation, leak detection, and conservation strategies to help organizations save water and reduce costs.
Water efficiency labeling | Water efficiency labeling programs certify products and appliances that meet specific water-saving criteria, guiding consumers and businesses in selecting fixtures that reduce water usage. This initiative promotes the adoption of water-efficient technologies and practices across various sectors. | Commercial and Domestic | Water efficiency labeling programs certify products and appliances that meet specific water-saving criteria, guiding consumers and businesses in selecting fixtures that reduce water usage. This initiative promotes the adoption of water-efficient technologies and practices across various sectors. | Waterwise | https://www.waterwise.org.uk/ | An independent, not-for-profit organization focused on reducing water consumption in the UK by promoting water efficiency and labeling schemes.
|  |  |  | RSK Group | https://rskgroup.com/ | Provides environmental consultancy services, including water efficiency assessments and sustainability certifications, assisting clients in achieving water efficiency standards.